## Assumptions
Vendor Cost Comparison - Replacement Centrifugal Pumps (P-101A/B)
Unit 100 - Feed Pump Package ¦ Procurement Ref: PR-2026-0341
Key Assumptions
Number of pump sets required | 2
Evaluation period (years) | 10
Discount rate (for NPV) | 10%
Electricity tariff | 8.5
Operating hours per year | 8000
USD to INR rate (for imported vendor) | 84
Note: Blue = input (edit here). Black = formula (do not overwrite). Yellow fill = assumption to confirm before issuing PO.

## Vendor Quotes
Line Item | Vendor A - Kirloskar | Vendor B - Grundfos (Import) | Vendor C - WPIL | Notes
Base equipment price per set (Rs.) | 1850000 | 2100000 | 1720000 | As per quotation, ex-works
Freight & insurance (Rs. per set) | 25000 | 95000 | 30000 | Vendor B is imported (EU)
Installation & commissioning (Rs. per set) | 120000 | 150000 | 110000
Number of pump sets | 2 | 2 | 2 | Linked to Assumptions
Rated motor power (kW) | 45 | 42 | 47 | Affects running cost
Rated efficiency (%) | 78% | 84% | 76% | Vendor B highest efficiency
Warranty period (months) | 12 | 24 | 12
Annual AMC cost after warranty (Rs.) | 65000 | 55000 | 70000 | Per set, post-warranty
Spares kit (2 yrs) price (Rs.) | 180000 | 240000 | 165000 | Recommended spares per vendor
Delivery lead time (weeks) | 10 | 16 | 8

## TCO Comparison
10-Year Total Cost of Ownership Comparison
Cost Component | Vendor A - Kirloskar | Vendor B - Grundfos (Import) | Vendor C - WPIL
Capital Cost
Equipment + Freight + Install, all sets | 3990000 | 4690000 | 3720000
Spares kit, all sets | 360000 | 480000 | 330000
Subtotal - Capital Cost | 4350000 | 5170000 | 4050000
Operating Cost (10-year, undiscounted)
Annual energy cost per set (Rs.) | 3060000 | 2856000 | 3196000
10-yr energy cost, all sets | 61200000 | 57120000 | 63920000
10-yr AMC cost, all sets (post-warranty years) | 1170000 | 880000 | 1260000
Subtotal - 10-yr Operating Cost | 62370000 | 58000000 | 65180000
TOTAL COST OF OWNERSHIP (10-yr) | 66720000 | 63170000 | 69230000
Ranking (1 = lowest TCO) | 2 | 1 | 3
Assumption: energy cost = rated power x efficiency-adjusted load x tariff x hours;
AMC applies for years remaining after each vendor's warranty period. Figures are illustrative test data, not actual vendor quotes.